PART – III

COMMERCIAL BID

UNITED INDIA INSURANCE COMPANY LIMITED

VALSAD BRANCH.

SUMMARY OF WORKS

SI.NO                              Type of work                          Amount Quoted 	(Rs.)

- Interior Furnishing Works                      Rs.

- Electrical Works                                      Rs.

- Data Cabling Works                                Rs.

- Air Conditioning Works                          Rs.

TOTAL                                         		     Rs.

(inclusive of all taxes and expenses & GST etc.,)

# (In words: 											.)

Notice: TENDERERS MUST VISIT THE SITE AND INSPECT FOR THEMSELVES THE ACTUAL WORKS TO BE CARRIED OUT BEFORE SUBMITTING THE TENDER

| PROPOSED INTERIOR FURNISHING WORK FOR UNITED INDIA INSURANCE COMPANY LIMITED |
| --- |
| BILL OF QUANTITIES |
| No | Description of Work | Size/ Quantity | Unit | Rate | Amount |
| 1 | Full height partitions with glass panels for manager cabin : Supplying and fixing glazed partitions using aluminium section of size 2”x2” frame work having 2’x2’ square grid on both sides covered with 8mm marine ply wood of approved make and finished with 1.5mm thk lamination which is to be used as per the drawing mentioned. Partitions frame is to be fixed properly to the roof slab, white wood lipping with white cedar finish to be fixed to fix the 12mm thk glass with etching for full height partition. A glazed door has to be provided as per the drawing with door closer and locks of godrej make.(the partitions area given below the false ceiling level cost includes for aluminium frame to be extended and fitted up to roof ceiling. Doors to be made out of 10mm thk glass with etching as per the design glass with etching has to be fixed on aluminium channel the bottom frame size is 6”x1½” and vertical frame size is 3’x1½” and the top frame size is 4”x1½” the aluminium frame shall be covered with 8mm plywood with1.5mm thk lamination which is to be used as per the drawing mentioned the cost include 5” brass hinges(4nos/door) and door handle as approved by architect. | 410 | SqFt |  |  |
| 2 | Glazed partitions with entrance door: Supply and fixing of first class Burma teak wood Main door frame of size 3’6”x 7’0”. Main entrance consists of two fixed glass and two doors as per drawing. Main frame specifications-4”x3”.Supply and fixing burma teak wood door(2nos) frame size 5”x2”side and top and 6”x2” at bottom, stainless steel 1’0” ht handles to be fixed on both sides with door closer and lock of godrej make. 12mm thk glass with edging is to be fixed on the door frame. Proper teak wood lipping is to be provided to fix the 12mm thk glass. Cost includes brass hinges 5”-8Nos with 10” brass tower bolt-4Nos. All round with locker polish of approved shade and colour.2” teak wood lipping is to be provided on outer frame all sides. Door size (3’6”X7’0”) | 490 | SqFt |  |  |
| 3 | 100MM Thick Partition With Bothside Single Layer of Gypsum with Ply Backing Providing & fixing 100mm thick gypsum board partitions, consisting one layer of tapered edge 12.5mm thick, 1200mm wide gypsum plaster board (conforming to IS 2095-1982) with one layer of 12.0mm thick ply on other side of GI stud, screws fixed with dry wall screws of 25mm at 300 mm centres with joints scattered, 48mm metal studs to be (0.5 mm thk. having one knurled flange of 34 mm and with joints scattered and another knurled flange of 36mm fabricated from G.l. sheets) placed in 50mm floor and ceiling channels @ 600 mm centres, floor channel fixed to concrete soleplate, and ceiling channel fixed to concrete soffit by nylon raw/ plugs @600 mm c/c including providing & fixing edge beads, corner protection angle bead, P/F hard wood frames for door frame / storages/cutting for electrical boxes etc. complete as per details given in drawing/Architect instruction. | 300 | SqFt |  |  |
| 4 | File Cabinet in PLPB 18 mm thick all including openable shutter and shelves | 60 | SqFt |  |  |
| 5 | Simple Table in PLPB (6X2.5) 2.5MM thick top with glass on top and rest 18 MM thick including keyboard tray, cable manager and CPU trolley | 1 | Nos |  |  |
| 6 | Cabinet with glass opening (6x3) with PLPB in Manager's Cabin | 1 | Nos |  |  |
| 7 | Side Table in PLPB (3X2) 25MM thick top and rest 18MM thick including openable shutter plus shelves | 3 | Nos |  |  |
| 8 | Table in PLPB 4X2 with 1 drawer and openable shutter pedestal | 9 | Nos |  |  |
| 9 | Table in PLPB 5X2 with 1 drawer and openable shutter pedestal | 2 | Nos |  |  |
| 10 | High Back Chair - Aveon MB or equivalent | 1 | Nos |  |  |
| 11 | Medium Back Chair- HOF Evoir M or equivalent – 10 Nos Revolving Pedestal, 10 Nos fixed type | 20 | Nos |  |  |
| 12 | THREE SEATER: Providing Soaf sets in MS, with arm rest, legs and supportin heavy quality material in Chromimum plated solid finish. Seats and back made of single perforated MS sheet (16 SWG) | 1 | Nos |  |  |
| 13 | Plastic Paint Work (FOR PARTITIONS AND INTERIOR WORK ONLY) Preparation of all types of surfaces to be painted by removing all loose material / paint, dust, stain etc. Supply & application of primer / putty wherever required. Supply & application of one finish coat of Epoxy Paint / Poly Urethane Paint / Synthetic Enamel Paint of approved brand / make as per Annexure -1 on pipe lines, equipments and other metal surfaces etc. Supply & application of Synthetic Enamel Paint of approved brand / make as per Annexure -1 on PPS fence & other as per specification and relevant item. | 600 | SqFt |  |  |

| PROPOSED INTERIOR FURNISHING WORK FOR UNITED INDIA INSURANCE COMPANY LIMITED |
| --- |
| BILL OF QUANTITIES |
| No | Description of Work | Size/ Quantity | Unit | Rate | Amount |
| 1 | Supply and laying of following size of original FINOLEX PVC insulated copper wire in suitable PVC conduit of 2mm thk with necessary PVC accessories like elbows, bends etc, necessary clampings |  |  |  |  |
| a | 4 x 6 sqmm + 1 x 4 sqmm from Main MCB DB to UPS input cost of 4 x 6sqmm wire & } 1 x 4 sqmm wire } Cost of PVC conduit pipes} Laying/fixing charges } | 4 | M |  |  |
| b | BM cabin AC machine Cost of 2 x 4 sqmm wire 1 x 1.5 sqmm wire Cost of PVC conduit pipes Laying/fixing charges | 7 | M |  |  |
| c | 2 x 4 sqmm + 1 x 2.5 sqmm from UPS output to UPS output main MCB DB & UPS output circuits, DBs Cost of 2 x 4 sqmm wire } 1 x 2.5 sqmm wire } Cost of PVC conduit pipes } Laying/fixing charges } | 12 | M |  |  |
| d | 3 x 2.5 sqmm from UPS output to circuit DBs to UPS points (four circuits) Cost of 3 x 2.5 sqmm wire } Cost of PVC conduit pipes } Laying charges } | 130 | M |  |  |
| 2 a | Supply and fixing of 2 x 4 sq.mm and 1 x 2.5 sq.mm original FINOLEX copper wire in PVC conduit of 2mm thk from change over switch to generator point | 30 | M |  |  |
| b | Supply and fixing of 15 A switch plug and jacket with box (Modular type) MK make | 5 | Nos |  |  |

| c | Supply and laying for 3.5 X 25 sq.mm copper cable for EB meter to Main DB | 50 | M |  |  |
| --- | --- | --- | --- | --- | --- |
| 3 a | Supply & fixing of HAVELL’S make following 8way 3phase vertical type double door MCB DBs in suitable MS enclosures with necessary interconnection main MCB DB |  |  |  |  |
|  | MS Enclosures -1No 63Amps 4pole Isolator -1No | 1 1 | Nos Nos |  |  |
|  | 25Amps 3pole MCB -3Nos | 3 | Nos |  |  |
|  | SP 25 Amps MCB -6Nos | 6 | Nos |  |  |
| b | UPS INPUT MAIN MCB DB HAVELL’S make with MS enclosure 40 Amps 4pole MCB | 1 | Set |  |  |
| c | UPS OUTPUT MAIN MCB DB HAVELL’S make Double door single phase 6way with |  |  |  |  |
|  | MS enclosure -1 | 1 | Nos |  |  |
|  | 40Amps 2pole MCB -1 | 1 | Nos |  |  |
|  | SP 10 Amps MCB -3 | 3 | Nos |  |  |
| 4 a | Supply & fixing of HAVELL’S make following 8way three phase vertical type double door MCB DBs in suitable MS enclosures with necessary interconnection main MCB DB for lighting |  |  |  |  |
|  | MS Enclosures 63 Amps 4 pole MCB | 1 1 | Nos Nos |  |  |
|  | SP 10 Amps MCB | 12 | Nos |  |  |
| b | Change over with phase shifter Supply & Installation of 32Amps 4 pole change over switch for generator - (HAVELL’S make) | 1 | Nos |  |  |
| c | Supply & providing of indicating lamps (3Nos) in suitable box phase selector 3 phase(HAVELL’Smake) | 1 | Set |  |  |
| 5 a | Supply and laying of 2pair Telephone cable (HAVELL’S) suitable PVC pipe/channel |  |  |  |  |

|  | cost of cable cost of PVC pipe Laying charges | 80 | M |  |  |
| --- | --- | --- | --- | --- | --- |
| b | Supply & installation/fixing of Modular type RJ11 Telephone sockets (MK make) | 3 | Nos |  |  |
| 6 a | Supply, installation and testing of dedicated earth pit for UPS as per standard using 600mm x 600mm x 3mm copper thick. The rate should include excavation, salt and charcoal powder, brick work 450mm x 450mm, cast iron cover/plate etc of & providing of copper plate ear thing as per standard for dedicated earth pit for UPS | 1 | Set |  |  |
| b | Supply & laying of FINOLEX 6sqmm copper wire within 20mm GI pipe from earth electrodes to the UPS | 30 | M |  |  |
| 7 a | Supply & fixing of 3Nos 6amp socket with 2Nos.6amp switch in suitable box-Modular type-MK make | 9 | Nos |  |  |
| b | Supply & fixing of 1Nos 6amp socket with 1Nos.6amp switch in suitable box-Modular type-MK make | 3 | Nos |  |  |
| c | Supply & fixing of 2Nos 6amp | 7 | Nos |  |  |
|  | socket with 1Nos.15amp switch in |  |  |  |  |
|  | suitable box for Raw PowerModular |  |  |  |  |
|  | type-MK make |  |  |  |  |
| 8 a | Supply and fixing of original |  |  |  |  |
|  | FINOLEX 4 x 4 sq.mm + 1 x 2.5 |  |  |  |  |
|  | sqmm copper wire in PVC conduit |  |  |  |  |
|  | of 2mm thick from Main MCB DB |  |  |  |  |
|  | to generator change over and from |  |  |  |  |
|  | changeover to lighting board | 15 | M |  |  |
| b | Supply and fixing HAVELL’S 20A |  |  |  |  |
|  | Metal clad plug and socket for AC |  |  |  |  |
|  | Unit | 3 | Nos |  |  |

| 9 a | Fixing of ceiling fan with |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | suspension rod. | 6 | Nos |  |  |
| b | Fixing of single tube light fittings | 11 | Nos |  |  |
| 10 | Point wiring: |  |  |  |  |
|  | Point wiring for light,fan, 6A |  |  |  |  |
|  | switched sockets with (FINOLEX / |  |  |  |  |
|  | ANCHOR ) 2R 1.5 Sqmm FRLS |  |  |  |  |
|  | insulated multi strand single core copper conductor wire drawn in |  |  |  |  |
|  | 20mm dia 2mm thick PVC conduit to be laid on false ceiling by |  |  |  |  |
|  | clamping with GI clamps, concealed |  |  |  |  |
|  | on wall and RCC roof etc with all |  |  |  |  |
|  | accessories like conduit bends, |  |  |  |  |
|  | junction boxes etc. The work also |  |  |  |  |
|  | involves supply and fixing of 6A |  |  |  |  |
|  | modular switch housed in manufacture’s zinc passivated MS |  |  |  |  |
|  | box to be concealed to wall. |  |  |  |  |
| a | One light point controlled by one switch | 9 | Nos |  |  |
| b | Two light controlled by one switch | 2 | Nos |  |  |
| c | Fan point with fan hook | 6 | Nos |  |  |
| d | 6A switched socket modular type to | 30 | Nos |  |  |
|  | be mounted in independent location |  |  |  |  |
| e | Supply and installation of 2R 2.5 | 250 | M |  |  |
|  | Sqmm FRLS multi strand copper |  |  |  |  |
|  | wire drwn in 20mm PVC conduit |  |  |  |  |
|  | 2mm thick to be laid concealed on |  |  |  |  |
|  | wall between DBs and switch boxes |  |  |  |  |
|  | including terminations at both ends |  |  |  |  |
| 11 | LIGHT FIXTURE : |  |  |  |  |
|  | (Make – Philips / Wipro / Bajaj / Pierlite ) |  |  |  |  |
| a | Supply of commercial recessed mounted 36W LED luminates comprises of CRCA housing powder coated in white the LED cluster are PMMA diffuser uniform glare-free light distribution suitable for 600mmx600mm coiling and operating voltage 240V input current 0.140 – 0.160 AMP input | - |  |  |  |

|  | wattage 33-37W |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| b | Supply of ISW LED down lighter | - |  |  |  |
|  | comprises of aluminium dia cast |  |  |  |  |
|  | housing and ring finished white |  |  |  |  |
|  | powder coated with high translucent |  |  |  |  |
|  | frosted PMMA diffuser operation |  |  |  |  |
|  | voltage 240V input current |  |  |  |  |
|  | 0.060.075 AMP input wattage |  |  |  |  |
|  | 14.515.5W |  |  |  |  |
| c | 1 X18W With Box type LED tube Light Fixture. | 11 | Nos |  |  |
| d | 48” Ceiling Fan of Crompton / Usha | 6 | Nos |  |  |
|  | / havells / Bajaj make. |  |  |  |  |
| e | Wall mounted Fan Crompton / Usha | - |  |  |  |
|  | / havells / Bajaj make. |  |  |  |  |
| f | Exhaust Fan havells / Crompton / | 1 | Nos |  |  |
|  | Almonard make. |  |  |  |  |

| PROPOSED ELECTRICAL WORK FOR UNITED INDIA INSURANCE COMPANY LIMITED |
| --- |
| BILL OF QUANTITIES |
| No | Description of Work | Size/ Quantity | Unit | Rate | Amount |
| 1 | Supply & laying of CAT 6 Data | 200 | M |  |  |
|  | Communication cable in 2mm thk |  |  |  |  |
|  | heavy duty 20mm dia PVC conduit |  |  |  |  |
|  | and making holes in the partitions / |  |  |  |  |
|  | wall all accessories as required |  |  |  |  |
|  | (DLink) |  |  |  |  |
| 2 | Supply & Installation, Testing & | 20 | Set |  |  |
|  | Commissioning of Modular type |  |  |  |  |
|  | 1N0s of RJ45 Female Jack housed |  |  |  |  |
|  | in PVC box with suitable Face plate |  |  |  |  |
|  | fixing the same in the wall / partition |  |  |  |  |
|  | with all accessories etc as required. |  |  |  |  |
| 3 | Supply and fixing of 1M Mounting | 19 | Set |  |  |
|  | CAT -6 Cord |  |  |  |  |
| 4 | Supply and fixing of 2M Mounting | 1 | Set |  |  |
|  | CAT -6 Cord |  |  |  |  |
| 5 | Supply & Installation of 24 port | - | Set |  |  |
|  | SWITCH |  |  |  |  |
| 6 | Supply & Installation of 24 port | - | Set |  |  |
|  | CAT 6 Jack Panel |  |  |  |  |
| 7 | Supply & Installation of 6u Wall | 1 | Set |  |  |
|  | mounting Server rack |  |  |  |  |

| PROPOSED HVAC WORK FOR UNITED INDIA INSURANCE COMPANY LIMITED |
| --- |
| BILL OF QUANTITIES |
| No | Description of Work | Size/ Quantity | Unit | Rate | Amount |
| 1 | AIR CONDITIONING WORKS |  |  |  |  |
|  | Supplying of Inverter Hiwall Split Type air |  |  |  |  |
|  | conditioning , installation, Testing and |  |  |  |  |
|  | commissioning of indoor and outdoor split |  |  |  |  |
|  | air conditioner with remote control, with 5 STAR rating units including stabilizer (Make : |  |  |  |  |
|  | Everest) and necessary civil works etc, The rate of units and is including the supply and |  |  |  |  |
|  | laying of 3 mts of copper pipes with |  |  |  |  |
|  | insulations, rubbers, white cements etc, |  |  |  |  |
|  | MAKE: Any Recognized brand |  |  |  |  |
|  | 1 Ton for BM Cabin | 1 | Nos |  |  |
|  | 2 Ton for Staff Seating | 1 | Nos |  |  |
| 2 | ANCILLARY WORKS |  |  |  |  |
|  | Supply and laying of copper pipes with |  |  |  |  |
|  | rubber insulations, rubber, white cements, |  |  |  |  |
|  | wall concealing works, etc, |  |  |  |  |
|  | 1 Ton for BM Cabin | 1 | Nos |  |  |
|  | 2 Ton for Staff Seating | 2 | Nos |  |  |
| 3 | Supply, installation, of Outdoor Stand with |  |  |  |  |
|  | necessary civil works | 3 | Nos |  |  |
| 4 | Supply and laying of PVC Blue pipes for | 10 | M |  |  |
|  | water drain from the indoor units with |  |  |  |  |
|  | necessary wall concealing works, putty works, |  |  |  |  |
|  | etc |  |  |  |  |