TENDER FOR INTERIOR FURNISHING, ELECTRICAL, DATA CABLING, AIR CONDITIONING WORK

UNITED INDIA INSURANCE COMPANY LIMITED,  NEW PREMISES, VALSAD BRANCH

Sealed Tenders in two bid system are invited for INTERIOR FURNISHING, ELECTRICAL, DATACABLING, AIR CONDITIONING WORK at Shop No. 115 & 123, 1st floor, Sai Leela Mall, Dharampur Road, Valsad - 396001 .for United India insurance Company Limited Valsad Branch on or before 01.02.2023 hours -15.00 Hrs.

Technical Bids will be opened at RO Vadodara 16.00 hours on 01.02.2023 and after evaluation of Technical bids, Financial Bids in respect of qualified Technical Bidders will be opened at RO Vadodara 16.30 hours on 01.02.2023.

Offerers or their authorized representatives may be present at the time of opening of the bids.

The Tenders may be submitted in the following manner:

Envelope No. 1 (EMD & Technical Bid):

Bid to be submitted in prescribed proforma along with Earnest money deposit of Rs.15000/- (Rupees Fifteen Thousand only only) payable to United India Insurance Company Limited by Demand Draft or Banker’s cheque payable at Vadodara. The Tenderer must also submit the Mandatory information strictly in United India Insurance prescribed proforma. Technical pre-qualification of the tendered will be based on the Mandatory information and supporting documents submitted along with the tender documents as well as Architect/Consultant/United India Insurance Scrutiny of the same and / or inspection of works carried out by the Tenderer. United India Insurance reserves the right to accept or reject any tender without assigning any reason whatsoever. Tenderers who have executed works for United India Insurance Company Limited, Vadodara Region in the last 3 financial years need to submit only the Mandatory Information and need not submit the supporting documents viz: Copies of the work orders, financial statements.

Envelope No. 2 (Commercial Bid):

Commercial bid should contain relevant price information and the rates should be quoted in Indian Rupees only. GST if any should be quoted separately. Please note to submit Commercial bid in separate sealed envelope and it should be superscribed “Commercial Bid”.

Bids received in any form other than in United India Insurance prescribed proforma will be disqualified. Sealed tenders, in duplicate in the prescribed tender form, with the tender fees and EMD, along with the Mandatory information etc. and commercial bid (in Separate Envelope 1 & 2), should be addressed to “The Chief Regional Manager, United India Insurance Company Limited - Regional Office, 5th floor, Suraj Plaza 2, Sayajigunj, Vadodara – 390020  superscribed “Tender for Interior Furnishing, Electrical, Data cabling & Air conditioning works for our proposed new branch at Valsad. Tenders should be submitted to the office not later than 15.00 hours on 01.02.2023.

Important - Pre Qualification Condition:  Parties who have not executed at least one similar work of 80% of cost (i.e.Rs.12,00,000/-), two works of 50% cost (i.e.Rs.7,50,000/- )or three works of 40% cost (i.e.Rs.6,00,000/-) of the estimated cost satisfactorily during last three years and does not have any office / site or presence in and around the town or district / state in which the project is located need not respond. Annual average turnover for last 3 years should not be less than 30% (i.e.Rs.4,50,000/-) of the project cost. Vendor must be ISO/Greenguard certified and should preferably have all India presence.

Defect liability and free maintenance period shall be twelve months from the date of virtual completion of the works. Validity of offer shall be 90 days from the date of opening of the tender. The United India Insurance does not bind itself to accept the lowest or any tender and reserves to itself the right to accept or reject any or all tenders, either in whole or in part, without assigning any reason for doing so.

Tenders are to be on the prescribed form which can be downloaded from United India Insurance website www.uiic.co.in. All pages of both Technical bid and commercial bid are to be signed with seal and date by the bidder.

The Chief Regional Manager (CRM)

Vadodara Region

Date : 12.01.2023

CONDITIONS  OF  CONTRACT

- The work involves supply and fixing of items of Civil & Other Miscellaneousworks.

- The tenderers should visit the site before completing the tender and should make acquainted with the local prevailing site conditions.

- The tender must be accompanied by the following papers :

  - D.D./Banker’s Cheque of Earnest Money deposit of Rs.15000/-in favour of the United India Insurance, Payable at Vadodara to be submitted along with the tender.

  - Details of works on hand with their estimated value of the bank and other works.

- Any tender which is not accompanied by D.D./Banker’s Cheque of earnest money deposit will be rejected. The earnest money deposit of the unsuccessful tenderer will be returned latest within one month from the date of opening of the tender. The earnest money deposit of the successful tenderer will be converted into security deposit after they have fully paid additional security deposit of 1% and obtained the work order. The Security Deposit will be considered on the basis of final amount of the successful contractor.

- The earnest money deposit of the successful tenderer will be liable to be forfeited as damage in the event of any, refusal or delay on the part of contractor to the start work on signing the contract and issuing work order.

- The Security Deposit will be as mentioned hereunder:

  - 2% as earnest money will be converted into security deposit at the time of work order.

  - Rest 3% from the running bills and final bills.

Thus total security deposit will be 5%. No interest will be paid over the same.

- The Security deposit will be returned to the contractor, on completion of the” defect liability period” subject to condition, no defects or leakage were founding the completed building, on issue of “Release Certificate for Security Deposit” by the Architect-Engineer. If during this period (Defects liability period) the contractor fails to rectify the defects as instructed by the Architect-Engineer, the said Architect-Engineer will have all the liberty to get the work completed through other Agencies if the contractor who has carried out the work fails to rectify the work. The cost incurred for such rectification work will be deducted from the contractor’s security deposit. The defect liability period will commence from the date of certificate as issued by the architect engineer for the final bill. The Security deposit will not bear any interest.

- The entire tender set consisting of Conditions of contract, Specifications of material, Bill of Quantities, etc. will form the part of the contract.

- There should be no over writing in the tender. No page of this total tender or part thereof should be removed or modified. The contractor should fill up the tender with blue colour only and should mention the rates in words and figures both.

- The Insurance company and architect-engineer reserve the right for rejecting any or all the tender without assigning any reason thereof.

- No conditional tender will be accepted.

- The quantities shown in the tender can vary to any extent. The contractor cannot take any objection for any variation in the quantity at the time of execution of work. The contractor will have to carry out the additional work pertaining to the said building, if required, during the execution stage, under the instructions of owner and/or Architect- Engineer.

- The contractor will hand over the completed work to the owner, after it is fully completed, after cleaning the site and locality, affected due to the work.

- The part payments made to the contractor for his Running Bill will be considered as an adhoc payment against the final bill.

- The contractor will have to furnish detailed rate analysis of materials and labour for such nontender items. The rates of non-tendered items will be considered by the architect-engineer on the basis of rate – analysis and prevailing market rates of such items. The decision of the architect engineer for the rates of non-tender item will be final and binding to the contractor.

- DETAILS OF TIME LIMIT, PENALTY ETC.

- Defect liability period                  : 12 Months from the date of final Certificate of payment as issued by the architect-engineer.

- Date of commencement of work         	  : From seven days after the date of work-order.

- Time limit for completion work 		  :  25 Days.

- Penalty for delay  			  :  Rs. 500/- day for the delayed  period and not     					                                                more than 10% of contract value.

- Amount of interim running bill                   :   As per work completed certified by Architect.

- Insurance  - Compulsory		               :  As and when required or as per

requirements against cyclone, heavy monsoon, earthquake or against such natural catastrophe, it is the responsibility of the tenderer.

- The contractor will have to procure all the required materials, labours, equipments and machineries required for the work. The materials should be stacked in such a way that it is not disturbing to the United India Insurance Co. Ltd. and other neighbours.

- The work is with materials and labour. Hence it will be the duty of the tenderer for any type of accident incurred during the work, causing damage to human life and injury, damage to other property, damage to any visitors, customers or supervisor. The contractor should therefore take all the necessary precautions, and care during the progress of work of his own staff and also for the staff owner, supervisors, visitors, customers etc. The contractor should take necessary insurance for the work as required under the workman compensation act, labour laws etc. as prevailing. In short, it will be the duty of the contractor for all the types of accident and damages caused to human lives or property in any form, during the progress of work at his own cost and risk.

- The work is to be carried out using best type and quality of materials as specified in the “Specifications of materials”. The materials should be approved with the Architect-Engineer prior to adopting for the use.

- The contractor will have to follow the instructions and guide lines as issued to him by the architect-engineer and/or his supervisor. If any work is not carried out satisfactory or to the required standard in the opinion of architect-engineer the contractor will have to rectify it again at his own cost, without any additional payment, without any argument.

- The contractor will have to keep one supervisor from his side constantly at site for this particular job, who will be fully responsible for the work on behalf of the contractor.

- In case the contractor’s progress of work is not satisfactory or his workmanship is not to the standard quality, the architect-engineer and/or owner reserve the right to issue necessary notice to the contractor, for carrying out timely progress. If however the contractor has not improved the progress, the architect-engineer and/or owner can release the contractor from his work and terminate the contract after Seven days of issue of notice.

- The contractor should submit in two sets his running and final bills for the work carried out by him along with detailed item-wise measurements of each items, for necessary verification to the Architect-Engineer and get the measurements and the bill verified with him. The Architect/Engineer will submit “Certificate for payment” to the owner for necessary payment. The final bill should contain detailed item-wise measurement book.

- The work is to be carried out within the stipulated time limit, failure to which, the penalty will be levied      as stated.

- In case of any contrary to the “General Specifications” and “Specification of materials to be used for this particular work” the details stated in the “Abstract of Work” will be considered as final and contractor will have to carry out the work accordingly.

- The rates include Octroi, levy, royalty, sales tax, GST, fixing & installation charges etc. No additional payment will be made for these types of taxes.

- The contractor will have to make his own arrangement for their safety of their tools at his own cost.

- The contractor will provide at his own expense adequate accommodation for his workers and keep the same in good order.

- The contractor shall, if required by the Architect-Engineer, arrange to test materials and/or portions of the works at his own cost in order to prove their soundness. If after any such test the work is found in the opinion of the Architect-Engineer defective, the contractor should execute the same at his own cost. The materials not to the standard shall be removed from the site as instructed by the Architect-Engineer.

- The contractor will have to clean the entire site and the surrounding affected due to the said work.

- The contractor will not allow or engage a person or persons, whose presence is not desired at site by the architect and/or owner.

- The Security Deposit will be deducted from the contractor’s running and final bills as stated above. The Income Tax (TDS) as per prevailing rate of the work will be deducted from the contractor’s running and final bills before making payment to him.

- The Owner in this case is the said United India Insurance. The site means the place of work i.e. Valsad Branch.  The Architect for the work is Atelier 1:1, Valsad. The entire work is to be carried out under the supervision, execution and instruction of the said “Architect-Engineer”.

- The contractor will have to get the materials/fixtures approved with the said Architect prior to their use for proper inspection of quality.

- Please note that all Civil & electrical works should be carried out by licensed Class I contractors which the contractor will have to get certified on completion thereof.

- I/We agree to abide with the above conditions fully and are prepared to undertake the work following the above conditions.

DATE:

PLACE:

_______________________________

(Signature and Stamp of the Tenderer)

Name of Tenderer:

Address:

Phone Nos. :  Off :                                               	Resi :

Mobile No. :

| SPECIFICATION OF MATERIALS |
| --- |
| Civils and Other Miscellaneous Works |
| 1 | Wood | Teak wood beading & Salwood framing free from knots. |
| 2 | Aluminium | Indal, Zindal Aluminium Sections. |
| 3 | Plywood | Marine Plywood - Kit Ply, Green ply, Anchor, VIply. |
| 4 | Laminate Sheet | Green lam Rayal touch, Deco lam, Formica, Marino, Sundek. |
| 5 | Prelaminate Particle Board | Prelam, Greenlab, Century. |
| 6 | Screws and Bolts | Mettle folds, GKW. |
| 7 | Hinges | Raja, Dev, E.P.P.W. |
| 8 | Aluminium Hardware | Rajdoot, Balu, Diamond, glided, E.P.P.W. |
| 9 | Locks for Doors | Laxmi, Godrej. |
| 10 | Locks for Cupboards and Drawers | Laxmi, Godrej. |
| 11 | Door Closer | Everite, Hafele, Doorman. |
| 12 | Sliding Channels | E.B.C.O, Glydo powder coated. |
| 13 | Putty | Asian paints, GoodlassNerolac. |
| 14 | Plastic Paint | Asian paints, ICI, Berger, Dulux. |
| 15 | Glass | Modi float Glass, Saint gobain. |
| 16 | Wood Preservative | STP Pentaphine pale, Wood Guard. |
| 17 | Adhesive | Fevicol SH, Araldite or Vamicol. |
| 18 | Flush Door | Kutty, Jacson or National. |
| 19 | Textured Paint | Spectrum, Bakelite Hylam. |
| 20 | Tiles | Satin Marfil / Satin Bianco, Equivalent Color (Kajaria). |
| 21 | Chemical (Paint waterproofing) | Dr. Fixit. |

| SPECIFICATION OF MATERIALS |
| --- |
| Civils and Other Miscellaneous Works |
| 1 | PVC armored under ground cable (Copper or Aluminium) | CCI TROPODUR/UNIVERSAL/ANY/HAVALLS/FINOLEX/ or EQUIPMENT |
| 2 | 14/0.3; 56/0.3; 85/0.3 (Copper wire or Multistoried copper wire or Multicore cables) | ANCHOR/RACHANA/POWER FLEX/HAVELLS/FINOLEX/ or EQUIPMENT |
| 3 | 6A 1Way, 16A 1 Way, 6A 3Pin, 16A 3Pin Socket and TV Socket | ANCHOR/RECORD/METRO/CRABTREE MK/or EQUIVALENT. |
| 4 | 10 A, 20A 2Pin & earth and 20/20A 3Pin & earth | TRONIX/STANDARD/HAVELLS/SUN/ or EQUIVALENT |
| 5 | SPN MCB DB, TPN MCB DB, SPN & TPN, Isolator, SP, TP, MCB Breakers. | STANDARD/HAVELLS/INDO ASIAN/ LT /GE/SUN/or EQUIVALENT |
| 6 | 32/63/100/500A TPN DB switch fuse, isolator. | STANDARD/INDOASIAN/HAVELLS/HPL/CROMPTONGREAV ES/SUN/ or EQUIVALENT |
| 7 | RCCB'S/MCCB's | HAVELLS/MDS/LLT/OR EQUIVALENT |
| 8 | PVC Electrical grade conduits and PVC casing and capping | ESSOKAY SALEM/AVON/PRECESSIO GAREWARE/or EQUIVALENT |
| 9 | Fluorescent fittings, Street lights | K-LITE/PHILIPS/CROMPTON/GREAVS/BAJA/or EQUIVALENT |
| 10 | Ceiling fans | USHA/CROMPTON/ORIENT/ or EQUIVALENT |
| 11 | Brackets lights | OC ALIGARH BEST MAKE/or EQUIVALENT |
| 12 | Call Bell | ANCHOR/KHERAJ/or EQUIVALENT |
| 13 | Exhaust Fan | EPC/ALSTHOM/or EQUIVALENT |
| 14 | Telephone Cable (Copper) | DOLTON/REMCO/or EQUIVALENT |
| 15 | Energy Meters | HAVELLS/or EQUIVALENT |
| 16 | 11KV Fuse Breaker | S.S MAKE/or EQUIVALENT. |
| 17 | Capacitor | NEPTUNE-DUCATI/or EQUIVALENT. |